## SUMMARY
ITEM NO |  |  |  | AMOUNT
1 | SECTION NO. 1 - PRELIMINARY AND GENERAL |  |  | 2925000
2 | SECTION NO. 2 - BUILDING WORKS
| EARTHWORKS |  |  | 541116.17
| CONCRETE, FORMWORK AND REINFROCEMENT |  |  | 6160401.42
| BRICKWORK |  |  | 2183654.7
| WATERPROOFING |  |  | 1311196
| ROOF COVERINGS |  |  | 0
| CARPENTRY & JOINERY |  |  | 0
| FLOOR AND WALL LININGS |  |  | 0
| IRONOMNGERY |  |  | 0
| CEILINGS AND PARTITIONS |  |  | 0
| STRUCTURAL STEELWORK |  |  | 182864
| METALWORK |  |  | 0
| PLASTERING |  |  | 1154636.14
| TILING |  |  | 0
| PLUMBING AND DRAINAGE |  |  | 0
| PAINTWORK |  |  | 0
| ELECTRICAL WORK |  |  | 0
3 | SECTION NO. 3 - EXTERNAL WORKS
| GENERAL SITE WORKS - ALTERATIONS AND ADDITIONS |  |  | 350000
| YARD WALLS |  |  | 0
| LANDSCAPING AND PAVING |  |  | 0
| EXTERNAL FEATURES |  |  | 0
| POOL AND WATER FEATURES |  |  | 0
4 | SECTION NO. 4 - PROVISIONAL AMOUNTS |  |  | 0
| SUB-TOTAL |  |  | 14808868.43 | 10723.2936
| ADD: CONTINGENCIES |  | 7.5% | 1110665.1323
15919533.5622
| ADD: VALUE ADDED TAX 15% RATE# | TAX | 15% | 2387930.0343
| TOTAL INCL VAT |  |  | 18307463.5966 | 13256.6717

## HUIS VENTER
ITEM NO |  |  | QUANTITY | RATE | AMOUNT
SECTION NO. 1 - PRELIMINARIES AND GENERAL
BILL NO. 1
PRELIMINARIES
PREAMBLES FOR TRADES
| Site establishment | Fixed | 1 | 50000 | 50000
0
| Allowance for preliminaries and general for items related to time, value and fixed | TIME | 14 | 200000 | 2800000
| Subbies | Fixed | 1 | 75000 | 75000
2925000
SECTION NO. 2 - BUILDING WORK
BILL NO. 1
EARTHWORKS
EXCAVATIONS
Excavate in earth as defined not exceeding 2m deep below reduced or natural ground level and set aside for use as filling (backfilling elsewhere) for:
36923 | Strip Footings | m³ | 504.4538 | 185 | 93323.94
| Bases | m³ | 60 | 250 | 15000
Extra over trench and hole excavations in earth for excavation in:
37288 | "Soft Rock" - Allowance | m³ | 28.2227 | 550 | 15522.48
Extra over all excavations for carting away or to be used as backfilling
37653 | Surplus material from excavations for backfilling or carting away to dumping site. | m³ | 564.4538 | 200 | 112890.75
Risk of collapse of excavations
38018 | Sides of trench and hole excavations not exceeding 1,5m deep. | m² | 1186.95 | 20 | 23739
Keeping excavations free of water.
38384 | Keeping excavations free of water. | No | 1 | 10000 | 10000
FILLING, ETC.
Earth filling G6 supplied by the contractor compacted to 95% Mod AASHTO density
38749 | Under floors | m³ | 309.6 | 625 | 193500 | 2 layers 150mm thick
Compaction of Surfaces
39114 | Compaction of ground surface under floors including ripping and scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density | m² | 1032 | 20 | 20640
TESTS
Prescribed tests to determine degree of compaction or other properties of ground or filling
39479 | Mod AASHTO Density test | No | 10 | 650 | 6500
0
0
| Earthworks contingencies | Prov | 1 | 50000 | 50000
0
541116.17
BILL NO. 2
CONCRETE, FORMWORK AND REINFORCEMENT
REINFORCED CONCRETE
Class 15MPa/19mm concrete
0
| Blinding | m³ | 18.8151 | 2300 | 43274.79
0
| Class 25MPa/19mm concrete |  |  |  | 0
0
36924 | Cavity fill | m³ | 25.5553 | 2450 | 62610.36
37289 | Surface beds cast in panels on waterproofing | m³ | 129 | 2850 | 367650
37654 | Strip Footings | m³ | 100.8907 | 2550 | 257271.41
0
| Bases | m³ | 40 | 2650 | 106000
0
| Walls | m³ | 14.7 | 3850 | 56595
Class 30MPa/19mm concrete
38019 | Isolated Beams | m³ | 65.5095 | 3750 | 245660.63
38385 | Slabs including beams and inverted beams | m³ | 360.6 | 3300 | 1189980
0
| Columns | m³ | 9.555 | 3500 | 33442.5
0
TEST BLOCKS
38750 | Making and testing 150 x 150 x 150mm concrete strength test cube | No | 50 | 250 | 12500
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float and brush finish
39115 | Surface beds, slabs and roof areas | m² | 2571 | 45 | 115695
0
| SMOOTH FORMWORK (DEGREE OF ACCURACY I) |  |  |  | 0
0
| Smooth formwork to sides |  |  |  | 0
0
| Columns | m² | 109.2 | 685 | 74802
0
| Beams | m² | 436.73 | 725 | 316629.25
0
| Walls | m² | 98 | 950 | 93100
39480 | Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 403.7 | 205 | 82758.5
SMOOTH FORMWORK (DEGREE OF ACCURACY I)
Smooth formwork to soffits
39846 | Slabs not exceeding 250mm thick propped up exceeding 1,5m not exceeding 3,5m high | m² | 1539 | 650 | 1000350
Smooth formwork to soffits
40211 | Soffits of Beams propped up exceeding 1,5 and not exceeding 3,5m high | m² | 110.1 | 1350 | 148635
STAIRCASES PROVISIONAL
Complete staircase including form work, concrete and reinforcement (Finish to staircase elsewhere)
40941 | Stairs | No | 2 | 85000 | 170000
MOVEMENT JOINTS ETC
Two layers of 375 micron DPC membrane as slip joint between horizontal concrete and brick surfaces including cement mortar bed
41307 | Not exceeding 300mm wide | m | 395 | 50 | 19750
Expansion joints with 'Jointex' or similar and approved between vertical concrete and brick surfaces including sealing
41672 | 10mm Joints not exceeding 300mm high or wide | m | 777 | 155 | 120435 | Floors and walls
Including sealant
Saw cut joints
42037 | 3 x 30mm Saw cut joints sealed with Sika Loadflex, in top of concrete | m | 701 | 135 | 94635 | Includes sealant
REINFORCEMENT
High tensile steel reinforcement to structural concrete work
42402 | To raft inc beams | t | 60.9716 | 20000 | 1219431.3 | Worked on allowances
Fabric reinforcement
43133 | Type 245 fabric reinforcement in surface beds, slabs, etc. | m² | 1032 | 76.74 | 79195.68
0
0
| Concrete contingencies | Prov | 1 | 250000 | 250000
0
6160401.42
BILL NO. 3
MASONRY
FOUNDATIONS
| 220mm One brick walls | m² | 126.65 | 722 | 91441.3
0
36925 | 280mm Walls of two half brick skins | m² | 352.4525 | 738 | 260109.95
SUPERSTRUCTURE
Brickwork of clay NFX bricks (14 MPa nominal compressive strength) in class II mortar
38020 | 110mm Half brick walls | m² | 260.856 | 385 | 100429.56
38386 | 220mm One brick walls | m² | 500.55 | 722 | 361397.1
38751 | 280mm Hollow walls of two half brick skins including wire ties | m² | 1402.0425 | 738 | 1034707.37
BRICKWORK SUNDRIES
39116 | Splayed mortar fillet one course high in 50mm cavity | m | 300.65 | 25 | 7516.25
39481 | Closing 50mm cavity of hollow wall horizontally and vertically with one course of brickwork | m | 267 | 85 | 22695
Brickwork reinforcement
39847 | 75mm Wide reinforcement built in horizontally | m | 17653.683 | 5 | 88268.42
40212 | 150mm Wide reinforcement built in horizontally | m | 3021.45 | 5 | 15107.25
Standard prestressed fabricated lintels
40577 | 110 x 75mm Lintels in lengths not exceeding 3m | m | 129 | 95 | 12255
40942 | 150 x 75mm Lintels in lengths not exceeding 3m | m | 118 | 95 | 11210
Galvanized hoop iron cramps, ties, etc
41308 | 30 x 1,6mm Wall tie 500mm long with one end fixed to timber frame and other end built into brickwork | No | 671 | 42.5 | 28517.5
0
| Masonry contingencies | Prov | 1 | 150000 | 150000
2183654.7
BILL NO. 4
WATERPROOFING
DAMP PROOFING OF WALLS AND FLOORS
One layer of 375 micron "SABS approved" embossed damp proof course
36926 | DPC in window cills | m | 118 | 20 | 2360
37291 | In walls | m² | 185 | 45 | 8325
One layer of 250 micron "SABS approved" waterproof sheeting sealed at laps
37656 | Under surface beds | m² | 1186.8 | 20 | 23736
Two coats 'Cemflex' waterproofing slurry mixed with Portland cement and water
38021 | On plastered shower walls and floors | m² | 185 | 415 | 76775
| WATERPROOFING TO ROOFS ALLOWANCE | PROV | 1 | 1200000 | 1200000 | EPDM SPEC
1311196
BILL NO. 6
CARPENTRY AND JOINERY
ROOF CONSTRUCTION
Mi-Tek engineered trusses
36928 | Labour to install above (Measured on flat) | m² |  |  | 0
37293 | Trusses manufactured an delivered to site (Measured on flat) | m² |  |  | 0
EAVES, VERGES, ETC
"Everite Flexit" pressed nutec-cement
37658 | 15 x 225mm Fascia or barge board countersunk screwed to support and roof timbers (elsewhere) with 75mm long brass screws at maximum 750mm centres and jointed with and including standard H-section jointing strips at all joints. | m |  |  | 0
SKIRTINGS
"Meranti"
38023 | 95mm Meranti skirting | m |  | 155 | 0
DOORS
Grooved semi solid timber door hung to frames
38389 | Fire Door 813 x 2600mm high | No |  | 5500 | 0 | 30MIN
38754 | Single Door 813 x 2600mm high | No |  | 3950 | 0
Purpose made slider doors including jambliner
39119 | Door size 900 x 2600mm high | No |  | 4250 | 0
FRAMED FRAMES, ARCHITRAVES, ETC
Solid "Meranti" door frame with no sill, hung to timber door frames
39484 | Door frame suitable for door 813 x 2400mm high | No |  | 2850 | 0
ENTRANCE DOOR
Timber door as specified by the architect or client to include supply and installation
39850 | Provisional allowance for timber front door | Item |  | 15,000.00 | 0
0
BILL NO. 7
FLOOR COVERINGS, WALL LININGS, ETC
PREAMBLES
For preambles refer to "Model Preambles for Trades"
FLOOR COVERINGS
Timber floor supplied and installed by a firm of specialists
36929 | Provisional allowance for trims to engineered wood floors for supply and installation | Item |  | 150 | 0
37294 | Provisional allowance for wood floors for supply and installation | Item |  | 750 | 0
WALL LININGS
Klompie
37659 | Provisional allowance for klompie cladding to fireplaces and braai's | Item |  | 7,500.00 | 0
Nutec cladding
38024 | To external wall areas | m² |  | 585 | 0
0
BILL NO. 8
IRONMONGERY
PREAMBLES
For preambles refer to "Model Preambles for Trades"
LOCKS, HANDLES AND HINGES
36930 | Provisional allowance for sliding mechanism for sliding doors | Item |  | 2,500.00 | 0
37295 | Provisional allowance for hinges, handles, lock sets to doors | Item |  | 1,500.00 | 0
0
BILL NO. 9
CEILINGS, PARTITIONS AND ACCESS FLOORING
CORNICES
Shadowline Cornice
36931 | SM25 Aluminium shadow line cornice, plugged | m |  | 85.82 | 0
NAILED UP CEILINGS
9,5mm Gypsum plasterboard fixed at 450mm centres and with tape fixed over joints and the whole finished with gypsum plaster trowelled even and sponge finished surface
37296 | Ceiling including galvanized steel sub structure brandering at 450mm centres and cross brandering as required - fixed to slab | m² |  | 434.74 | 0
37661 | Ceiling including galvanized steel sub structure brandering at 450mm centres and cross brandering as required - flat ceilings | m² |  | 428.26 | 0
EAVES
9mm Nutec boards
38026 | To 300mm eaves | m |  | 175 | 0
BULKHEADS ETC
9.5mm Gypsum plasterboard ceilings including 3mm rhinolight plater to boards, and skimmed joints
38392 | Extra over for curtain recess | m |  | 420.43 | 0
CEILING INSULATION
"Isotherm" type ceiling insulation
38757 | 100mm Thick on ceilings between battens at 600mm centres | m² |  | 145.1 | 0
0
BILL NO. 10
STRUCTURAL STEELWORK
PREAMBLES
For preambles refer to "Model Preambles for Trades"
SUPPLEMENTARY PREAMBLES
Descriptions
Descriptions of bolts shall be deemed to include nuts and washers
Descriptions of L-shaped and U-shaped anchor bolts shall be deemed to include bending, threading, nuts and washers and embedding in concrete
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete
Descriptions of L-shaped and U-shaped anchor bolts shall be deemed to include bending, threading, nuts and washers and embedding in concrete. Where anchor bolts are described as embedded in sides or soffits of concrete it shall be deemed to include holes through formwork.
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete.
All Structural Steelwork shall be fabricated and erected in accordance with SANA 1200H
All Structural Steelwork shall be manufactured subject to a set of approved Shop Drawings that will be submitted to the project Engineer for reviewing, commenting and approval
All Structural Steelwork shall be of Grade 300W steel except cold formed hollow sections which shall be commercial grade
All Structural Steelwork, unless described as Galvanised, shall be factory primed with two coats self etching primer
All Structural bolts shall be grade 8.8
STEEL COLUMNS AND BEAMS PROVISIONAL
Galvanised welded columns in single lengths with flat section base, top, bearer and connection plates bolted to concrete
36932 | 100 x 100 x 4.5mm 12.9kg/m SHS columns | t | 0.89 | 94600 | 84194 | ALLOWANCE
Galvanised welded beams in single lengths with flat section bearer and connection plates bolted to concrete
37297 | 254 x 146mm x 31,3kg/m I-beam | t | 1.38 | 71500 | 98670 | ALLOWANCE
182864
BILL NO. 11
METALWORK
PREAMBLES
For preambles refer to "Model Preambles for Trades"
SUPPLEMENTARY PREAMBLES
Descriptions
Descriptions of bolts shall be deemed to include nuts and washers
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete
WINDOWS AND DOORS
Provisional Sum allowed using opening sizes - no specification on system or glass used
36933 | Provisional allowance for aluminium windows and doors including supply and installation | Item |  | 3,250.00 | 0
BALUSTRADES
Provisional allowance for steel balustrades installed by a firm of specialists
37298 | To Balconies | Item |  | 1,750.00 | 0
SHOWER DOORS
6mm toughened glass with all fixing accessories
37663 | Provisional allowance for frame less glass shower doors including supply and installation | Item |  | 3,250.00 | 0
GARAGE DOORS
Fully automated alu-zink garage door including installation
38028 | Provisional allowance for double garage door including motor and installation | Item |  |  | 0
SUNDRIES
40 x 40 x 3mm galvanized steel angle to floors
38394 | Window and door sills | m |  | 575 | 0
0
BILL NO. 12
PLASTERING
PREAMBLES
For preambles refer to "Model Preambles for Trades"
SCREEDS
Screeds on concrete
36934 | Average 35mm thick on shower floors to falls and currents to outlets | m² | 40 | 250 | 10000
37299 | 25mm Thick on floors | m² | 1381 | 155 | 214055
0
| Average 60mm Thick to roofs to falls | m² | 1162 | 195 | 226590
INTERNAL PLASTER
One coat cement plaster on brickwork
37664 | On narrow widths | m² | 175.4913 | 350 | 61421.94
38029 | On walls | m² | 2924.8545 | 140 | 409479.63
One coat cement plaster on concrete
38395 | On concrete soffits of slabs | m² |  | 250 | 0 | OFF SHUTTER
38760 | On concrete soffits and sides of beams | m² |  | 325 | 0 | OFF SHUTTER
EXTERNAL PLASTER
One coat cement plaster on brickwork
39125 | On narrow widths | m² | 105.1532 | 350 | 36803.62
39490 | On walls | m² | 1402.0425 | 140 | 196285.95
1154636.14
BILL NO. 13
TILING
PREAMBLES
For preambles refer to "Model Preambles for Trades"
WALL TILING
Wall tiles fixed with ceramic tile adhesive and approved waterproof grout to plastered walls - Adhesive and labour only (Tile elsewhere)
36935 | On walls | m² |  | 220 | 0
FLOOR TILING
Floor tiles fixed with ceramic tile adhesive and approved waterproof grout to plastered walls - Adhesive and labour only (Tile elsewhere)
37300 | On screeded floors | m² |  | 250 | 0
EDGE TRIMS, CORNER PROTECTORS, DIVIDING STRIPS, ETC
"Kirk Marketing"
37665 | Natural anodised aluminium "in-stair nosing" | m |  | 200 | 0
38030 | Anodised aluminium edge trim to tile | m |  | 85 | 0
TILING PC ALLOWANCES
PC allowance to include supply, deliver and 10% waste allowance
38396 | PC allowance for tiles to floors in showers | m² |  | 1250 | 0 | R500/m2
38761 | PC allowance for tiles to walls in Kitchen | m² |  | 440 | 0 | R350/m2
39126 | PC allowances for tiles in living areas | m² |  | 405 | 0 | R350/m2
39491 | PC allowance for floor tiles in bathroom | m² |  | 475 | 0 | R350/m2
39857 | PC allowance for wall tiles in bathrooms | m² |  | 475 | 0 | R350/m2
40222 | PC allowance for floor tiles to balconies | m² |  | 420 | 0 | R350/m2
0
BILL NO. 14
PLUMBING & DRAINAGE
PREAMBLES
For preambles refer to "Model Preambles for Trades"
RAINWATER DISPOSAL
| "Watertite" OGEE seamless pre-painted aluminium gutters and down pipes | Prov |  | 27500 | 0 | Prov allowance
36936 | Extra over gutter for outlet 75 x 50mm down pipe | No |  |  | 0
37301 | Extra over 75 x 50mm rainwater pipe for eaves or plinth offset | No |  |  | 0
37666 | Extra over gutter for stopped end | No |  |  | 0
38031 | Extra over 75 x 50mm rainwater pipe for shoe | No |  |  | 0
38397 | 75 x 50mm Aluminium downpipes | No |  |  | 0
38762 | 125 x 85mm x 0,6mm thick gutters and brackets | m |  |  | 0
uPVC
39127 | 75mm downpipe in walls | m |  | 257.4 | 0
STORMWATER DRAINAGE
Excavate in earth as defined not exceeding 2m deep below reduced or natural ground level and set aside for use as filling (backfilling elsewhere) for:
39492 | Trenches - Storm water drainage | m³ |  | 363 | 0
uPVC Pipes
39858 | 110mm uPVC pipes laid in trenches for storm water drainage | m |  | 257.4 | 0
Storm water brick catch pit build and plastered approximately 300 x 300 x 300mm high including 265 x 265mm Manhole Cover and frame
40223 | Catch pits | No |  | 5144.7 | 0
SOIL DRAINAGE
uPvc
40588 | Rodding Eyes | No |  | 354.2 | 0
40953 | 50mm laid horizontally to fall | m |  | 233.2 | 0
41319 | 110mm laid to falls | m |  | 352 | 0
Excavate in earth as defined not exceeding 2m deep below reduced or natural ground level and set aside for use as filling (backfilling elsewhere) for:
41684 | Trenches - Sub soil drainage | m³ |  | 598.4 | 0
Build and plastered gulley approximately 300 x 300 x 300mm high including 265 x 265mm Manhole Cover and frame
42049 | Gulleys | No |  | 935 | 0
FIRST FIX
Geberit Mepla pipe including all fittings, inserts, joints etc to supply internal reticulation for
42414 | Geyser points | No |  | 2530 | 0
42780 | Garden taps | No |  | 1155 | 0
43145 | Incoming main feed | m |  | 303.6 | 0
43510 | Hot water points | No |  | 303.6 | 0
43875 | Cold water points | No |  | 303.6 | 0
SECOND FIX
Take delivery from supplier and install
44241 | Kitchen double bowl sink consisting stainless steel inset sink, mixer tap, waste fitting and angle valves including connectition to sanitary drainage and water supplies | No |  | 2530 | 0
44606 | Built in Bath tub with mixer tap, waste outlet, trap including connection to sanitary drainage and water supplies | No |  | 4730 | 0
44971 | Kitchen prep bowl consisting stainless steel inset prep bowl, mixer tap, waste fitting and angle valves including connectition to sanitary drainage and water supplies | No |  | 2530 | 0
45336 | Shower set consisting mixer tap, shower arm with rose and shower waste trap including connectition to sanitary drainage and water supplies | No |  | 3036 | 0
45702 | WC set consisting wall hung Geberit type wash down pan and concealed cistern, actuator and toilet seat including connectition to sanitary drainage and water supplies | No |  | 2816 | 0
46067 | Counter top single wash hand basin set with mixer tap, waste outlet, trap including connection to sanitary drainage and water supplies | No |  | 2310 | 0
SANITARY FITTINGS
The following PC Amounts is deemed to include the sanitary fittings as well as any accessories that must be fitted together with this fitting.
46432 | Double zink and taps | Item |  | 5,500.00 | 0
46797 | Prep bowl and taps | Item |  | 6,500.00 | 0
47163 | Shower mixer and head | Item |  | 3,500.00 | 0
11003 | Wash closet complete | Item |  | 6,000.00 | 0
11368 | Hand wash basin and taps | Item |  | 4,500.00 | 0
11733 | Bath and Taps | Item |  | 12,500.00 | 0
HOT WATER GENERATION
Supply and install
12099 | Installation of a integrated heat pump | Item |  | 55,000.00 | 0
BATHROOM ACCESSORIES
Supply and Install
12464 | Sanitary fittings | Item |  | 243.8 | 0
0
BILL NO. 15
PAINT WORK
PREAMBLES
For preambles refer to "Model Preambles for Trades"
Where not specifically described, descriptions for painting will deem to include for all necessary preparation, stopping and painting of all sealers, primers, undercoats, etc., all in strict accordance with the manufacturer's instructions
MIDAS Earthcote PAINTWORK TO NEW WORK
ON FLOATED PLASTER
Prepare and apply one coat Midas Alkali resitant primer and two coats Midas Midalux 240 paint
36937 | On internal plastered walls | m² |  | 170.29 | 0 | INCLUDES SKIMMING
Prepare and apply one coat Midas Alkali resitant primer and two coats Midas Midamax 200 paint
37302 | On internal plastered ceilings | m² |  | 120.29 | 0
37667 | Beams | m² |  | 170.5 | 0
Prepare and apply one coat Midas alkali resistant primer and two coats Midas Envirolite Midalux 240
38032 | On external plastered walls | m² |  | 120.29 | 0
ON STRUCTURAL STEEL
Prepare and apply one coat Midas Galvanised iron pre-cleaner, one coat Midas metal etch primer, one coat Midas Universal undercoat and two coats Midas Midaflow Gloss enamel paint
38398 | On columns and beams | m² |  | 291.5 | 0
ON FIBRE-CEMENT
Prepare and apply one coat Midas alkali resistant primer, one Midas Universal undercoat and two coats Midas Envirolite Midalux 240
38763 | On eaves soffit covering | m² |  | 138.05 | 0
39128 | On ceilings | m² |  | 138.05 | 0
ON WOOD
Prepare and apply one coat Midas Woodprime, one coat Midas universal undercoat and two coats Midas water based Satin gloss enamel paint
39493 | On skirtings, rails, etc not exceeding 300 mm girth | m |  | 60.5 | 0
Prepare and apply two coats Woodoc 30 stained varnish
39859 | On frames, linings, etc. | m² |  | 170.5 | 0
40224 | On doors | m² |  | 120.29 | 0
ON FLOORS
40589 | To garage floors | m² |  | 203.5 | 0
0
BILL NO. 15
ELECTRICAL
UNDERFLOOR HEATING INSTALLATION
36938 | Provisional allowance for underfloor heating supplied and installed | Item |  |  | 0
ELECTRICAL- WIFI, DATA, SOUND ETC
37303 | Provisional allowance for complete electrical installation including switchgear | Item |  |  | 0
LIGHT FITTINGS
37668 | Provisional allowance for light fittings | Item |  |  | 0
0
SECTION NO. 3 - EXTERNAL WORK
GENERAL SITE WORKS
BILL NO. 1
PREAMBLES
For preambles refer to "Model Preambles for Trades"
SUPPLEMENTARY PREAMBLES
Nature of ground
The nature of the ground is assumed to be a pickable material, therefore "earth", but possibly interspersed with "soft rock" builders not exceeding 0,3m3 in volume
NOTE : All excavations are measured as being in "earth" and/or filling compacted to 98% modified AASHTO density Descriptions of excavations shall be deemed to include for setting aside surplus excavated material in spoil heaps for use as filling or for depositing within 150m of the perimeter of the excavations and spreading and roughly levelling as directed, as well as for increase in bulk and multiple handling of excavated material caused by the contractor's method of operation. Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site and for bulking.
Compaction tests on filling
The rates of filling shall be deemed to include all compaction tests necessary for the contractor to aquint himself of the compaction, etc. The contractor must carry out sufficient tests in accordance with SABS 1200 DA-1988 page 10 in order to satisfy himself about the consistancy and compaction of materials Seperate tests measured are for the engineers sole use to establish the compaction and Mod AASHTO by an independant laboratory should it be necessary
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
SITE ALTERATIONS AND DEMOLITIONS, ETC.
36951 | Provisional allowance for site alterations and demolitions to accommodate new build | Prov | 1 | 350000 | 350000
BULK EXCAVATIONS, FILLING ETC
Open face excavation in earth over sloping site
37316 | Open face excavation - cut and fill over site | m³ |  | 350 | 0
Extra over all excavations for carting away
37681 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the Contractor. (Allow for bulking) | m³ |  | 225 | 0
350000
YARD WALLS
BILL NO. 2
PREAMBLES
For preambles refer to "Model Preambles for Trades"
SUPPLEMENTARY PREAMBLES
Nature of ground
The nature of the ground is assumed to be a pickable material, therefore "earth", but possibly interspersed with "soft rock" builders not exceeding 0,3m3 in volume
NOTE : All excavations are measured as being in "earth" and/or filling compacted to 98% modified AASHTO density Descriptions of excavations shall be deemed to include for setting aside surplus excavated material in spoil heaps for use as filling or for depositing within 150m of the perimeter of the excavations and spreading and roughly levelling as directed, as well as for increase in bulk and multiple handling of excavated material caused by the contractor's method of operation. Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site and for bulking.
Compaction tests on filling
The rates of filling shall be deemed to include all compaction tests necessary for the contractor to aquint himself of the compaction, etc. The contractor must carry out sufficient tests in accordance with SABS 1200 DA-1988 page 10 in order to satisfy himself about the consistancy and compaction of materials Seperate tests measured are for the engineers sole use to establish the compaction and Mod AASHTO by an independant laboratory should it be necessary
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
EXCAVATIONS
Excavate in earth as defined not exceeding 2m deep below reduced or natural ground level and set aside for use as filling (backfilling elsewhere) for:
36952 | Trenches - Strip footings to yard walls | m³ |  | 185 | 0
Extra over trench and hole excavations in earth for excavation in:
37317 | "Soft Rock" - Rate Only | m³ |  | 550 | 0
Extra over all excavations for carting away
37682 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the Contractor. (Allow for bulking) | m³ |  | 200 | 0
Risk of collapse of excavations
38048 | Sides of trench and hole excavations not exceeding 1,5m deep. | m² |  | 20 | 0
Keeping excavations free of water.
38413 | Keeping excavations free of water. | No |  | 2500 | 0
FILLING, ETC.
Earth filling obtained from the excavations and compacted to 93% Mod AASHTO density:
38778 | Backfilling to trenches, holes, etc. | m³ |  | 185 | 0
Compaction of Surfaces
39143 | Compaction of ground surface under floors including ripping and scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density | m² |  | 20 | 0
REINFORCED CONCRETE
Class 25MPa/19mm concrete
39509 | Strip footings | m³ |  | 2550 | 0
REINFORCEMENT
High tensile steel reinforcement to structural concrete work
39874 | Y10 to 16mm bars | t |  | 20000 | 0
BRICKWORK
Brickwork of clay NFX bricks (14 MPa nominal compressive strength) in class II mortar
40239 | One brick walls | m² |  | 722 | 0
BRICKWORK SUNDRIES
Brickwork reinforcement
40604 | 150mm Wide reinforcement built in horizontally | m |  | 5 | 0
DAMP PROOFING OF WALLS AND FLOORS
One layer of 375 micron "SABS approved" embossed damp proof course
40970 | In walls | m² |  | 45 | 0
EXTERNAL PLASTER
One coat cement plaster on brickwork
41335 | On walls | m² |  | 140 | 0
PAINTWORK ON FLOATED PLASTER
Prepare and apply one coat Midas alkali resistant primer and two coats Midas Envirolite Midalux 240
41700 | On external plastered walls | m² |  | 120.29 | 0
0
LANDSCAPING AND PAVING
BILL NO. 3
FILLING, ETC.
Earth filling G6 supplied by the contractor compacted to 95% Mod AASHTO density
36953 | Under paving | m³ |  | 625 | 0
Compaction of Surfaces
37318 | Compaction of ground surface under floors including ripping and scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density | m² |  | 20 | 0
SLEEVES
Sleeves for services under paving
37683 | 50mm uPVC pipe | m |  | 250 | 0
CLADDING
Stone cladding installed by a firm of specialists to
38049 | External walls (Provisional) | Item |  | 1,250.00 | 0
PAVING
Supply and install
38414 | Cobble paving | m² |  | 495 | 0
LANDSCAPING
Supply and install
38779 | Allowance for trees | Item |  | 7,500.00 | 0
39144 | Irrigation | Item |  | 50,000.00 | 0
39510 | Soft Landscaping | Item |  | 350 | 0
0
EXTERNAL FEATURES
BILL NO. 4
DECKING
"Balua" or any other approved hardwood decking including sub structure
36954 | Provisional allowance for decking installation to be supplied and installed by a firm of specialists | Item |  | 3150 | 0
0
POOL
BILL NO. 5
PREAMBLES
For preambles refer to "Model Preambles for Trades"
SUPPLEMENTARY PREAMBLES
Nature of ground
The nature of the ground is assumed to be a pickable material, therefore "earth", but possibly interspersed with "soft rock" builders not exceeding 0,3m3 in volume
NOTE : All excavations are measured as being in "earth" and/or filling compacted to 98% modified AASHTO density Descriptions of excavations shall be deemed to include for setting aside surplus excavated material in spoil heaps for use as filling or for depositing within 150m of the perimeter of the excavations and spreading and roughly levelling as directed, as well as for increase in bulk and multiple handling of excavated material caused by the contractor's method of operation. Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site and for bulking.
Compaction tests on filling
The rates of filling shall be deemed to include all compaction tests necessary for the contractor to aquint himself of the compaction, etc. The contractor must carry out sufficient tests in accordance with SABS 1200 DA-1988 page 10 in order to satisfy himself about the consistancy and compaction of materials Seperate tests measured are for the engineers sole use to establish the compaction and Mod AASHTO by an independant laboratory should it be necessary
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site.
SWIMMING POOL AND WATER FEATURES
BULK EXCAVATIONS, FILLING ETC
Open face excavation in earth over sloping site
36955 | To swimming pool | m³ |  | 200 | 0
Back excavation of vertical sides of excavations in earth for working space including backfilling compacted to 90% Mod AASHTO density
37320 | Not exceeding 1000mm deep for placing and removing formwork to walls etc, 500mm away from excavated face | m² |  | 195 | 0
37685 | Carting away | m³ |  | 225 | 0
FILLING, ETC.
Earth filling G6 supplied by the contractor compacted to 95% Mod AASHTO density
38051 | Under floors | m³ |  | 625 | 0
Compaction of Surfaces
38416 | Compaction of ground surface under floors including ripping and scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density | m² |  | 20 | 0
REINFORCED CONCRETE
Class 25MPa/19mm concrete
38781 | Surface bed cast in panels on waterproofing - swimming pool | m³ |  | 2300 | 0
39146 | To concrete cavities in walls | m³ |  | 2450 | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a power float
39512 | Surface beds | m² |  | 50 | 0
REINFORCEMENT
High tensile steel reinforcement to structural concrete work
39877 | Y10 to 16mm bars | t |  |  | 0
Fabric reinforcement
40242 | Type 245 fabric reinforcement in surface beds, slabs, etc. | m² |  | 76.74 | 0
BRICKWORK
Brickwork of clay NFX bricks (14 MPa nominal compressive strength) in class II mortar
40607 | 280mm Hollow walls of two half brick skins including wire ties and a 50mm cavity filled with concrete (Measured elsewhere) | m² |  | 738 | 0
POOL COPING
300 x 450mm concrete copings grouted in joints
40973 | Provisional allowance for pool coping | Item |  | 450 | 0
SCREEDS
Screeds on concrete
41338 | 25mm Thick on floors | m² |  | 155 | 0
41703 | 50 x 50mm Triangular fillet against walls etc | m |  | 25 | 0
42068 | Swimming pool walls | m² |  | 160 | 0
POOL PUMP AND FIBREGLASS
Fibre glass applied in accordance to manufacturer instructions
42434 | Provisional allowance for fibreglass to floors and walls - pool | Item |  | 650 | 0
Pool Pump supply and installed
42799 | Provisional allowance for light fittings to pool | Item |  | 1,000.00 | 0
43164 | Provisional allowance for pool pump | Item |  | 25,000.00 | 0
Pool Cover
Supply and install
43529 | Provisional allowance for pool cover | Item |  | 25000 | 0
Heat pump as specified by specialist
43895 | Provisional allowance for heatpump | Item |  | 42500 | 0
0
SECTION NO. 4 - PROVISIONAL AMOUNTS
PROVISIONAL SUMS AND PRIME COST AMOUNTS
The following provisional sums are for work to be carried out by nominated or selected sub-contractors in terms of clause 14 & 15 of the Principal Building Agreement.
All provisional sums cover supply of material and equipment and installation. Provisional sums are net and do not include builder's discount and Value-Added Tax but the Tenderer may allow under "Profit" items any profit he considers necessary
PROFIT
Against the item "allow for profit" the Contractor must allow for whatever profit, if any, he requires on the relevant provisional sum. If the provisional sum differs from the final amount of the item concerned, the "profit" allowed will be proportionally adjusted
ATTENDANCE
Against the item "attendance" the Contractor must allow for co-ordinating the work, co-operating to the fullest extent with all parties concerned and for general attendance
Attendance shall further mean to take delivery of and to attend upon off-loading of materials, allocation of suitable storage space, hoisting of materials to desired levels, the use of erected ordinary scaffolding and material, supply of power, lighting, water and similar facilities, the use of latrines and sheds, the building in of sleeves, plug and switch boxes, switchboards, pipes, etc., protection and making good in all trades
The amount allowed for attendance will remain fixed unless the Scope of Works is altered, in which event the amount allowed will be adjusted according to the variation in Scope of Work, based on the original allowance
GAS INSTALLATION
36982 | Provisional allowance for gas installation | Item |  | 10,000.00 | 0
BUILD IN CUPBOARDS, KITCHEN CUPBOARDS AND VANITIES
37347 | Provisional allowance for vanities | Item |  | 4,500.00 | 0
37712 | Provisional allowance for work benches | Item |  | 3,500.00 | 0
38078 | Provisional allowance for kitchen island | Item |  | 12,500.00 | 0
38443 | Provisional allowance for kitchen cupboards | Item |  | 12,500.00 | 0
38808 | Provisional allowances for build in cupboards | Item |  | 12,500.00 | 0
GRANITE TOPS
39173 | Provisional allowance for vanities for granite tops | Item |  | 4,500.00 | 0
AIRCON INSTALLATION
39539 | Provisional allowance for Air conditioning | Item |  | 21,500.00 | 0
GAS FIREPLACES, SLOW COMBUSTION STOVES ETC
39904 | Provisional allowance for fireplaces | Item |  | 35,000.00 | 0
BRAAI, FLUE AND GATHER
40269 | Provisional allowance for braai and flues | Item |  | 15,000.00 | 0
0