GREAT KEI MUNICIPALITY TELEPHONE: (043) 831 5700 FAX: (043) 8311 306 Email: info@greatkeilm.gov.za Website: http://www.greatkeilm.gov.za ADDRESS COMMUNICATIONS TO THE: MUNICIPAL MANAGER 17 MAIN STREET PRIVATE BAG X 2 KOMGA 4950 “Striving for clean administration”

|  | EASTERN CAPE PROVINCE EC 123 |  |
| --- | --- | --- |

CHECKLIST FOR BUILDING CONTROL

Erf Number____________                       Plan Number_________________

COMPLIANCE INFORMATION REQUIRED

| INFORMATION NEEDED | Y-N-N/A | FULL FLOOR PLAN 1:50 /1:100 | Y-N-N/A |
| --- | --- | --- | --- |
| Copy of Title Deed |  | Wall Thickness & Size |  |
| Full Title of Proposal |  | Dimension widths, Treads, Risers |  |
| Details of Owner & Architect |  | Garage , Fire Wall / Fire Door |  |
| SACAP Number, SACAP Compliance |  | Proposed work to be shown clearly |  |
| Area of New Work |  | Screen Wall |  |
| Area of Existing Work |  | Overall Dimensions |  |
| Engineers Details Surface Bed, Stairs etc. |  | Room Description |  |
| Coverage |  | Ventilation & Lighting to all rooms |  |
| Building Plan submission fees to be paid |  |  |  |
| Thatched Roof to comply with part TT |  | SECTIONS 1:50 / 1:100 |  |
| SABS code 082:88 - Timber Structure |  | Foundation sizes and depths |  |
| 1 copy are to be coloured & 2 copies to be black and white |  | Floor to Ceiling Heights |  |
| Heritage Application if building is older than 60 years |  | Floor Thickness & Finishes |  |
| Fire Protection Plan is required for commercial development |  | Roof Pitch, Structure & Covering |  |
| Stormwater Management Plan with Layout is required when a floor plan of 100m2 or more is shown |  | Ceiling Finishes/Description |  |
| Consent Forms where applicable, signed by owner |  | Ground Levels & under floor filling |  |
| Recognized Drawing scales to be used -1:10;1:100;1:20;1:200;1:50;1:500 etc |  | Sections & Section Lines |  |
| SANS 10400 Forms 1-4 |  | DPC’s |  |
| Details of Boundary Walls |  | Roof Timber & covering details |  |
| Underground Drainage Levels & Sections |  |  |  |
| Chimney-600mm above Roof Covering |  |  |  |
| SITE PLAN 1:200/1:500 |  | ELEVATIONS 1:50/ 1:100 |  |
| Scale , Dimensions & Erf no. |  | All Finishes to be indicated |  |
| North Point ,Street Name, No & Furniture |  | Natural ground / Finishes floor level |  |
| All existing buildings to be shown |  | Rainwater pipes to be shown |  |
| All neighbouring ervens to be shown |  | Plumbing pipes to be shown |  |
| All Existing & New drainage to be shown |  | Window Description & Sizes |  |
| Boundary lines and Dimensions |  | Openable windows to be indicated |  |
| Building lines and Dimensions |  |  |  |
| Site Levels & Contours |  | SWIMMING POOLS |  |
| All entrance, exit & driveway to be shown |  | Floor Plan, Site Plan & Sections |  |
| Rodding & Cleaning Eyes |  | Pump & Filter location |  |
| Vent Pipes or Valves |  | Method of Blackwash water disposal |  |