## BOQ
|  |  | UNIT | INITIAL QTY | INITIAL RATE | INITIAL AMOUNT
| Item No. | BILL NO. 1
|  | PRELIMINARIES AND GENERAL | H2
1. The agreement is to be the JBCC Series 2000 Principal Building Agreement
prepared by the Joint Building Contracts CommitteeMay 2018 Edition.
2. The preliminaries are to be the JBCC Series 2000 Preliminaries prepared by
the Joint Building Contracts Committee May 2018, 6.2 Edition and shall be deemed to"
be incorporated herein.
3. Tenderers are referred to the abovementioned documents for the full intent
and meaning of each clause thereof (hereinafter referred to by heading and
clause number only) for which such allowance must be made as may be
considered necessary.
4. Where standard clauses or alternatives are not entirely applicable to this
contract such modifications, corrections or supplements as will apply are
given under each relevant clause heading.
5. Where any item is not relevant to this specific contract such item is marked
N/A (signifying "not applicable").
6. If Alternative A as set out in clause B10.3 hereinafter is to be used for the
adjustment of the preliminaries each item priced is to be allocated to one or
more of the three categories, where "F" denotes a fixed amount (amount not
to be varied), "V" denotes an amount variable in proportion to value and "T"
denotes an amount in proportion to time.
|  | SECTION A : PRINCIPAL BUILDING AGREEMENT | H2
|  | Definitions (A1) | H3
| 1 | Definitions and Interpretation (clause 1) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Objective And Preparation (A2 - A14) | H3
2 | 2 | Offer, Acceptance and Performance Obligations (clause 2) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
2 | 3 | Documents (clause 3) | Item | 1 | 1000 | 1000
F:................... V:.................. T:..................
2 | 4 | Design Responsibility (clause 4) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
2 | 5 | Employer's Agents (clause 5) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
2 | 6 | Site Representative (clause 6) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
2 | 7 | Compliance with Laws and Regulations (clause 7) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
2 | 8 | Works Risk (clause 8) | Item | 1 | 1785 | 1785
F:................... V:.................. T:..................
3 | 9 | Indemnities (clause 9) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
3 | 10 | Works Insurances (clause 10) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
3 | 11 | Liability Insurances (clause 11) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
3 | 12 | Effecting Insurances (clause 12) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
3 | 13 | Insurances - Government contracts (clause 13) | N/A
F:................... V:.................. T:..................
3 | 14 | Security (clause 14)
F:................... V:.................. T:..................
3 | 15 | The Client will with - hold money in the form of a payment reduction. The payment reduction will be 5% of the value of work certified. The amount will be adjusted to 2.5%of the contract sum on achievement of Practical Completion and 0% on the issue of the Final Payment Certificate. | Item | 1 | 0 | 0
|  | Execution (A15 - A23) | H3
3 | 16 | Preparation for and Execution of the Works (clause 15) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
3 | 17 | Access to the Works (clause 16) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
4 | 18 | Contract Instructions (clause 17) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
4 | 19 | Setting out of the Works (clause 18) | Item | 1 | 9500 | 9500
F:.................. V:.................. T:..................
4 | 20 | Assignment (clause 19) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
4 | 21 | Nominated Subcontractors (clause 20) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
4 | 22 | Selected Subcontractors (clause 21) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
4 | 23 | Employer's Direct Contractors (clause 22) | Item | 1 | 0 | 0
F:................... V:.................. T:...................
4 | 24 | Contractor's Domestic Subcontractors (clause 23) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Completion (A24 - A30) | H3
4 | 25 | Practical Completion (clause 24) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
5 | 26 | Works Completion (clause 25) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
5 | 27 | Final Completion (clause 26) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
5 | 28 | Latent Defects Liability Period (clause 27) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
5 | 29 | Sectional Completion (clause 28) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
5 | 30 | Revision of Date for Practical Completion (clause 29) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
5 | 31 | Penalty for Non-completion (clause 30) | Item | 1 | 0 | 0
F:................... V:.................. T:...................
5 |  | Penalty for non completion shall be R2500.00 per calender day.
|  | Payment (A31 - A35) | H3
6 | 32 | Interim Payment to the Contractor (clause 31) | Item | 1 | 0 | 0
F:................... V:.................. T:...................
The period of payment by the Employer to the Contractor is 21 days from the date of the Quantity Surveyor's certificate
F:................... V:.................. T:..................
Adjustment to the Contract Value (clause 32)
6 | 33 | The Contractor is to note that this is a fixed price contract. Prices are to include for escalation and that no adjustment of contract value according to CPAP or any other method of adjustment will apply. | Item | 1 | 0 | 0
F:................... V:.................. T:..................
6 | 34 | Recovery of Expense and Loss (clause 33) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
6 | 35 | Final Account and Final Payment (clause 34) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
6 | 36 | Payment to Other Parties (clause 35) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Cancellation (A36 - A39) | H3
6 | 37 | Cancellation by Employer - Contractor's Default (clause 36) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
6 | 38 | Cancellation by Employer - Loss and Damage (clause 37) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
7 | 39 | Cancellation by Contractor - Employer's Default (clause 38) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
7 | 40 | Cancellation - Cessation of the Works (clause 39) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Dispute (A40) | H3
7 | 41 | Dispute settlement (clause 40) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Contract Variables (A41) | H3
7 | 42 | The Schedule : Pre-tender information (clause 41) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
Information necessary for completion of those clauses contained in the schedule
which are necessary for tender purposes is given hereunder
41.1.1 Employer
Mr. and Mrs. Altus Fourie
41.1.2 Quantity Surveyor
CONWAYS PROPERTIES PTY LTD
Ben Kamma , Port Elizabeth
73 Wiehhahn Ave , Ben Kamma , Port Elizabeth
Tel:+27 76 092 5628
41.1.3 Architect
Blackhound Architecture and Rendering
Tel: +27 72 418 6867
41.2 Contract Details
41.2.1 Works Description:
The works comprise:
The Proposed Alterations and Additions to Existing Dwelling on ERF 47, Sunridge
approx: 150m2
41.2.2 Site Description:
The Site is located on ERF 47 , Sunridge , Port Elizabeth
41.2.3 Work or installation by direct contractors:
41.2.4 This agreement is for a State contract: No
41.2.5 Date on which possession of the site is intended to be given:
TBC
41.2.6 Period for the commencement of the works after the contractor takes
possession of the site:
TBC.
42.2.7 Completion of the works as whole: Yes
42.2.8 Date For Practical Completion:
TBC
Penalty:
R 2500.00 per calendar day
42.2.9 Completion of the work in sections:
No
9 | 43 | 42.2.9 The law applicable to this agreement shall be that of: | Item | 1 | 0 | 0
South Africa
F:................... V:.................. T:..................
42.3 Insurances
9 | 44 | 42.3.1 Where this agreement is for a government contract the liability of the contractor shall be limited to : N/A | Item | 1 | 0 | 0
F:................... V:.................. T:..................
42.3 Insurances
9 | 45 | Contract works insurance to be effected by the Contractor: | Item | 1 | 0 | 0
F:................... V:.................. T:..................
Limit = Ten Million Rand per occurrence
Deductibale = Nil Rand per occurrence
9 | 46 | 42.3.2 Supplementary insurance required: | Item | 1 | 0 | 0
F:................... V:.................. T:..................
9 | 47 | 42.3.3 Public liability insurance to be effecte by Contractor | Item | 1 | 0 | 0
F:................... V:.................. T:..................
Limit = Ten Million Rand per occurrence
Deductibale = Nil Rand per occurrence
10 | 48 | 42.3.4 Support insurance to be effected by te Contractor | Item | 1 | 0 | 0
F:................... V:.................. T:..................
Limit = Five Million Rand per occurrence
Deductibale = Nil Rand per occurrence
F:................... V:.................. T:..................
42.4 Documents
42.4.1 Waiver of the contractor's lien or right of continuing possession is required:
Yes
42.4.2 Construction document copies to be supplied to the Contractor free of charge:
Three (3)
42.4.3 Bills of Quantities/Lump Sum Documents/Schedule of Rates are drawn up in
accordance with the Standard System of Measuring Building Work, 6th
Edition (Revised) 1999
42.4.4 Number of days for submission of priced documents:
Fourteen (14)
42.4.5 JBCC Engineering General Conditions are to be included in the contract
documents:
No
42.4.6 Contract value is to be adjusted using escalation indices:
No : N/A : Fixed Price Contract
42.4.7 Details of changes made to the provision of JBCC standard documentation:
Clauses 32 and 42.4.6
Notwithstanding the provisions of clause 32.13 or any other clause all
fluctuations in costs shall be for the account of the contractor.
|  | SECTION B : PRELIMINARIES | H2
|  | Definitions And Interpretation (B1) | H3
11 | 49 | Definition and interpretation (B1.1 - B1.4.6) | Item | 1 | 0 | 0
The items in these bills of quantities are to be read and priced in conjunction with and
the descriptions regarded as amplified by the Standard Preambles And Descriptions of
Materials and Workmanship to All Trades as set out in the bills of quantities, and no
claim arising from brevity of description of items fully described in the said Standard
Preambles for Trades will be entertained.
F:................... V:.................. T:..................
|  | Documents (B2) | H3
12 | 50 | Checking of Documents (B2.1) | Item | 1 | 0 | 0
Tenderer to check that these bills of quantities contain pages and annexures as
indexed on the flyleaf.
F:................... V:.................. T:..................
|  | Provisional Bills of Quantities (B2.2) | N/A
F:................... V:.................. T:..................
Items measured under the Earthworks Trade will be subject to remeasure on completion of the works
|  | Availability of Construction Documentation (B2.3) | N/A
F:................... V:.................. T:..................
12 | 51 | Interests of Agents (B2.4) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
12 | 52 | Priced Documents (B2.5) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
12 | 53 | Tender Submission (B2.6) | Item | 1 | 0 | 0
Notwithstanding anything contained in this clause tenders shall be valid for a period of
forty five (45) days from the closing date of tenders
F:................... V:.................. T:..................
|  | The Site (B3) | H3
13 | 54 | Defined Works Area (B3.1) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
13 | 55 | Geotechnical Investigation (B3.2) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
13 | 56 | Inspection of the Site (B3.3) | Item | 1 | 0 | 0
No claims for extras arising from the contractor having failed to comply with this clause
will be entertained.
F:................... V:.................. T:..................
13 | 57 | Existing Premises Occupied (B3.4) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
13 | 58 | Previous Work - Dimensional Accuracy (B3.5) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
13 |  | Previous Work - Defects (B3.6) | N/A
F:................... V:.................. T:..................
14 | 59 | Services - Known (B3.7) | Item | 1 | 0 | 0
All existing services and points of connection will be pointed out on the site by the
Architect and/or Engineer.
F:................... V:.................. T:..................
14 | 60 | Services - Unknown (B3.8) | Item | 1 | 3500 | 3500
F:................... V:.................. T:..................
14 | 61 | Protection of Trees (B3.9) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
14 | 62 | Articles of Value (B3.10) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
14 | 63 | Inspection of Adjoining Properties (B3.11) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Management Of Contract (B4) | H3
14 | 64 | Management of the Works (B4.1) | Item | 1 | 83350 | 83350
F:................... V:.................. T:..................
14 | 65 | Programme for the Works (B4.2) | Item | 1 | 0 | 0
The contract shall be programmed by the contractor.
The contractor's programme shall be sumitted to the principal agent within two weeks
of the site handover.
F:................... V:.................. T:..................
15 | 66 | Progress Meetings (B4.3) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
15 | 67 | Technical Meetings (B4.4) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
15 | 68 | Labour and Plant Records (B4.5) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Samples, Shop Drawings And Manufacturer's Instructions (B5) | H3
15 | 69 | Samples of Materials (B5.1) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
15 | 70 | Workmanship Samples (B5.2) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
15 | 71 | Shop Drawings (B5.3) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
16 | 72 | Compliance with Manufacturer's Instructions (B5.4) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Temporary Works And Plant (B6) | H3
16 | 73 | Deposits and Fees (B6.1) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
16 | 74 | Enclosure of the Works (B6.2) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
16 | 75 | Advertising (B6.3) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
16 | 76 | Plant, Equipment, Sheds and Offices (B6.4) | Item | 1 | 18000 | 18000
F:................... V:.................. T:..................
16 | 77 | Main Notice Board (B6.5) | Item | 1 | 1500 | 1500
A standard notice board size 3.0 x 3.0m high is to be erected indicating the Project/ Clients/ Consultants/ Contractors names
F:................... V:.................. T:..................
16 | 78 | Subcontractors Notice Board (B6.6) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Temporary Services (B7) | H3
17 | 79 | Location (B7.1) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
17 | 80 | Water (B7.2) | Item | 1 | 3000 | 3000
F:................... V:.................. T:..................
17 | 81 | Electricity (B7.3) | Item | 1 | 3000 | 3000
Alternativve A shall apply
F:................... V:.................. T:..................
17 | 82 | Telecommunication Facilities (B7.4) | Item | 1 | 3000 | 3000
Alternative A shall apply
F:................... V:.................. T:..................
17 | 83 | Ablution Facilities (B7.5) | Item | 1 | 2850 | 2850
Alternative A shall apply
F:................... V:.................. T:..................
|  | Prime Cost Amounts (B8) | H3
17 | 84 | Responsibility for Prime Cost Amounts (B8.1) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Attendance On N/S Subcontractors (B9) | H3
17 | 85 | General Attendance (B9.1) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
18 | 86 | Special Attendance (B9.2) | Item | 1 | 0 | 0
Contractor to decide should this be applicable or not
F:................... V:.................. T:..................
18 | 87 | Commissioning - Fuel, Water and Electricity (B9.3) | Item | 1 | 3000 | 3000
F:................... V:.................. T:..................
|  | Financial Aspects (B10) | H3
18 | 88 | Statutory Taxes, Duties and Levies (B10.1) | Item | 1 | 0 | 0
All tenders submitted will be taken as being inclusive of Value Added Tax in
accordance with the Value Added Tax Act of 1991 or any amendments thereto.
All rates inserted in these Bills of Quantities are to be nett rates (i.e. exclusive of
Value Added Tax).
The amount for Value Added Tax (VAT) shall be provided for only on the Final
Summary page of these bills of quantities at the current rate of 15% (fifteen
percent).
F:................... V:.................. T:..................
18 | 89 | Payment of Preliminaries (B10.2) | Item | 1 | 0 | 0
Alternative A shall apply
F:................... V:.................. T:..................
18 | 90 | Adjustment of Preliminaries (B10.3) | Item | 1 | 0 | 0
Alternative A shall apply
Preference of adjustment of preliminaries must be indicated on the tender form.
F:................... V:.................. T:..................
19 | 91 | Payment Certificate Cash Flow (B10.4) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | General (B11) | H3
19 | 92 | Protection of the Works (B11.1) | Item | 1 | 0 | 0
19 | 93 | Existing roads, sidewalks, buildings, etc., are to be protected from | Item | 1 | 0 | 0
damage.
F:................... V:.................. T:..................
19 | 94 | Protection/Isolation of Existing/Sectionally Occupied Works (B11.2) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
19 | 95 | Security of the Works (B11.3) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
19 | 96 | Notice Before Covering Work (B11.4) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
19 | 97 | Disturbance (B11.5) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
20 | 98 | Environmental Disturbance (B11.6) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
20 | 99 | Works Cleaning and Clearing (B11.7) | Item | 1 | 3500 | 3500
The site shall be kept clean with all rubble removed daily.
F:................... V:.................. T:..................
20 | 100 | Vermin (B11.8) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
20 | 101 | Overhand Work (B11.9) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
20 | 102 | Instruction Manuals and Guarantees (B11.10) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
20 | 103 | As Built Information (B11.11) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
20 | 104 | Tenant Installations (B11.12) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
|  | Schedule Of Preliminaries Variables (B12) | H3
21 | 105 | Pre-tender information (B12.1) | Item | 1 | 0 | 0
Information necessary for elections and completion of those clauses contained in the
schedule which are necessary for tender purposes is given hereunder. Where no
information is given it shall mean that either no details or specific requirements are
21 | 106 | available or that the clause is not relevant to this specific contract. | Item | 1 | 0 | 0
F:................... V:.................. T:..................
12.1.1 Bills of quantities (B2.2)
The quantities are provisional: No
12.1.2 Availability of construction documentation (B2.3)
Construction documentation is complete: Yes
12.1.3 Interest of agents (B2.4)
12.1.4 Defined works area (B3.1)
Tenderers may occupy the full portion of the site as pointed out at the Site
Inspection meeting for Tenderers. It is an express requirement that the
existing access roads and paths be kept clear for client use at all times.
12.1.5 Geotechnical investigation (B3.2)
No site specific report is available. MBB Consulting Engineers are
experienced in the site soil conditions and are available to discuss if required.
12.1.6 Existing premises occupied (B3.4)
Tenderers are advised that all the adjacent School facilities will be in use for
the duration of the contract. In particular due care will be required to respect
the students privacy, limit undue noise, maintain security, access and general
cleanliness of the site. No access to the balance of the campus by the
contractor or sub-contractor's personnel will be permitted.
12.1.7 Previous work - dimensional accuracy (B3.5)
12.1.8 Previous work - defects (B3.6)
12.1.9 Services - known (B3.7)
Existing services and points of connection are shown on the site plan and all
work associated with these services is measured under the relevant trades.
12.1.10 Protection of trees (B3.9)
All trees are to be protected from any damage.
12.1.11 Inspection of adjoining properties (B3.11)
12.1.12 Enclosure of the works (B6.2)
The construction site is to be blocked from public access per the site
diagram issued with these bills of quantities, perimeter hoarding is
elsewhere measured.
12.1.13 Offices (B6.4.3)
A meeting room is required for all site meetings.
12.1.14 Main notice board (B6.5):
A notice board is required: Yes
12.1.15 Subcontractor's notice board (B6.6)
A notice board is required: No
12.1.16 Water (B7.2)
Alternative selected : B
12.1.17 Electricity (B7.3)
Alternative selected : B
12.1.18 Telecommunications (B7.4)
Alternative selected : A
12.1.19 Ablution facilities (B7.5)
Alternative selected : A
12.1.20 Protection of existing/sectionally occupied works (B11.2)
12.1.21 Special attendance (B9.2)
12.1.22 Protection of the works (B11.1) :
Protection is required : Yes
12.1.23 Disturbance (B11.5)
12.1.24 Environmental disturbance (B11.6)
24 | 107 | Post tender information (B12.2) | Item | 1 | 0 | 0
F:................... V:.................. T:..................
12.2.1 Payment of preliminaries (B10.2)
Alternative selected: (A or B):
..........
12.2.2 Adjustment of preliminaries (B10.3)
Alternative selected: (A or B):
..........
12.2.3 Additional agreed preliminaries items
................................................................-
................................................................-
................................................................-
|  | SECTION C : SPECIFIC PRELIMINARIES | H2
24 | 108 | Proprietary Branded Products | Item | 1 | 0 | 0
The contractor shall take delivery of, handle, store, use apply and/or fix all proprietary
branded products in strict accordance with the manufacturers' instruction after
consultation with the manufacturer's authorised representative. No substitutes for
proprietary branded products will be allowed.
F:................... V:.................. T:..................
25 | 109 | Application For Certificate | Item | 1 | 0 | 0
The contractor must complete and sign a cession form with respect to any claim for
materials on site, and submit same to the quantity surveyor for inclusion in the monthly
cerificate. Failure to submit the signed cession form will preclude unfixed materials on
site from being included in the certificate.
F:................... V:.................. T:..................
25 | 110 | Placing Orders For Materials | Item | 1 | 0 | 0
The contractor is warned to place all orders for materials or special articles as early as
possible, failing which he will be held solely responsible for any delay in the delivery of
such goods.
Should any specified item, having been timeously ordered by the contractor, prove to
be unobtainable, the contractor shall immediately advise the principal agent who will
then decide on alternative substitutes.
F:................... V:.................. T:..................
25 | 111 | Overtime | Item | 1 | 0 | 0
In any instance the contractor shall request permission to work outside normal working
hours.
Should overtime be required to be worked for any reason whatsoever, the costs of
such overtime are to be borne by the contractor unless the principal agent has
specifically authorised in writing, prior to the execution thereof, that costs for such
overtime are to be borne by the employer.
F:................... V:.................. T:..................
26 | 112 | Site Instructions | Item | 1 | 0 | 0
Site instructions issued on site are to be recorded in triplicate in a site instruction book
which is to be maintained on site by the contractor.
F:................... V:.................. T:..................
26 | 113 | Labour Record | Item | 1 | 0 | 0
At the end of each month the contractor shall provide the principal agent with a written
record, in schedule form, reflecting the number and description of tradesmen and
labourers employed by him and all subcontractors on the works each day.
F:................... V:.................. T:..................
26 | 114 | Plant Record | Item | 1 | 0 | 0
At the end of each month the contractor shall provide the principal agent with a written
record, in schedule form, reflecting the number, type and capacity of all plant,
excluding hand tools, currently used on the works.
F:................... V:.................. T:..................
27 | 115 | Non Cession Of Monies | Item | 1 | 0 | 0
The contractor shall not cede nor assign his rights or claims to any monies due or to
become due under this contract
F:................... V:.................. T:..................
27 | 116 | As Built Drawings | Item | 1 | 0 | 0
The position of construction breaks and the extent of individual concrete pours are to
be recorded by the contractor on the structural engineer's drawings and are to be
submitted to the architect and the structural engineer for their records.
F:................... V:.................. T:..................
27 | 117 | Health And Safety Specification And Regulations For Contractors | Item | 1 | 0 | 0
Contractors are to comply with the Health and Safety Regulations for Contractors and
the Health and Safety Specification as set out in Annexure B included in the back of
these Bills of Quantities.
27 | 118 | F:................... V:.................. T:.................. | Item | 1 | 2500 | 2500
|  | Carried to Collection |  |  |  | 19000
Bill No.1
PRELIMINARIES
Conways Properties PTY LTD
BILL NO. 2
EARTHWORKS (PROVISIONAL)
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
NOTE: Preambles for Trades (September 2008 Edition) before pricing this bill.
Nature of ground
The nature of the ground is assumed to be loose sandy material, therefore "earth", but possibly interspersed with "soft rock" or "hard rock"
The nature of the ground is assumed to be gravel, therefore "earth", but possibly interspersed with "soft rock" or "hard rock"
The nature of the ground is assumed to be silty clay with loose river boulders varying in size up to approximately 450mm diameter, all of which will be deemed as "earth", but possibly interspersed with "hard rock"
Trial holes indicate that the nature of the ground is silty clay to a depth of approximately 500mm with fine to medium loose sandy material below, therefore "earth"
A soils investigation has not been carried out on the site by the engineer. It is assumed that the ground varies between silty sand, reworked soil of mixed origin and residual shale, all of which will be deemed as "earth". All very hard unweathered shale, ironstone, etc, the removal of which necessitates the use of explosives or heavy duty hydraulic percussion hammers (peckers), will be classified as "hard rock"
The following are typical examples of descriptions of "subterranean water"
Subterranean water
No subterranean water is expected The water table is expected to vary between approximately ?m and ?m below natural ground level. The removal of subterranean water is given separately
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site
Filling and layer work materials
References such as "G1", "G2", etc and "C1", "C2", etc in descriptions of filling and layer work materials refer to corresponding references in the document "Guidelines for Road Construction Materials. TRH 14 : 1985" compiled by the Committee of State Road Authorities and the properties set out therein for each kind shall be applicable to the respective materials described hereinafter
User note
When no information regarding density and other tests is available the following preamble in respect of testing may be inserted
Testing
Prices for filling are to include for all necessary density and other tests
EXCAVATIONS, ETC.
Excavation in earth not exceeding 2m deep
29 | 1 | Trenches | m3 | 1.36 | 204.04 | 277.4944
29 | 2 | Bases | m3 | 1.57 | 204.04 | 320.3428
Extra over all excavations for carting away
29 | 3 | Surplus material from excavations and/or stock piles on site, to a dumping site to be located by the contractor | m3 | 2.72 | 242 | 658.24
Risk of collapse of excavations
30 | 4 | Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 25.56 | 45.5 | 1162.98
Keeping excavations free of water
30 | 5 | Keeping excavations free of all water other than subterranean water | Item | 1 | 1665 | 1665
FILLING ETC
Earth filling obtained from the excavations and/or prescribed stock piles on site, compacted to 95% Mod AASHTO density
30 | 6 | As backfilling to trenches, holes, etc | m3 | 0.21 | 204 | 42.84
Compaction of ground surfaces
30 | 7 | Compaction of natural or excavated ground surface under footings etc. | m2 | 5.43 | 113.31 | 615.2733
TESTS
Prescribed tests to determine degree of compaction or other properties of ground or filling
30 | 8 | Modified AASHTO Density test | No | 1 | 1554 | 1554
|  | Carried to Collection |  |  |  | 6296.1705
Bill No. 2
EARTHWORKS
Conways Properties PTY LTD
BILL NO.3
CONCRETE, FORMWORK AND REINFORCEMENT
User note
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
NOTE: Preambles for Trades (September 2008 Edition) before pricing this bill.
Cost of tests
The costs of making, storing and testing of concrete test cubes as required under clause 7 "Tests" of SABS 1200 G shall include the cost of providing cube moulds necessary for the purpose, for testing costs and for submitting reports on the tests for approval. The testing shall be undertaken by an approved independent firm or institution nominated by the contractor (test cubes are measured separately)
Breeze concrete
Breeze concrete shall consist of twelve parts clean dry furnace ash, free from coal or other foreign matter, to one part cement (1:12); the ash graded up to particles which will pass a 16,5mm ring from a minimum which fails to pass a 4,75mm mesh. The finer materials from the screening are to be first mixed with the cement into a mortar and the ash added afterwards and thoroughly incorporated
Lightweight concrete
Lightweight concrete shall have a density of 600kg/m3 for the top 50mm and 400kg/m3 for the remaining thickness. The minimum thickness at outlets, channels, etc shall be 50mm
Formwork
Descriptions of formwork shall be deemed to include use and waste only (except where described as "left in" or "permanent"), for fitting together in the required forms, wedging, plumbing and fixing to true angles and surfaces as necessary to ensure easy release during stripping and for reconditioning as necessary before re-use
The vertical strutting shall be carried down to such construction as is sufficiently strong to afford the required support without damage and shall remain in position until the newly constructed work is able to support itself
Formwork to soffits of solid slabs etc shall be deemed to be to slabs not exceeding 250mm thick unless otherwise described
Formwork to soffits of slabs, beams, etc shall be deemed to be propped up exceeding 1,5m and not exceeding 3,5m high unless otherwise described
Formwork to sides of bases, pile caps, ground beams, etc will only be measured where it is prescribed by the engineer for design reasons. Formwork necessitated by irregularity or collapse of excavated faces will not be measured and the cost thereof shall be deemed to be included in the allowance for taking the risk of collapse of the sides of the excavations, provision for which is made in "Earthworks"
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
25MPa/19mm concrete
31 | 1 | Footings | m3 | 0.57 | 1824.84 | 1040.1588
31 | 2 | Bases | m3 | 1.57 | 1824.84 | 2864.9988
TEST CUBES
32 | 3 | Making and testing 150 x 150 x 150mm concrete strength test cube (Provisional) | No | 1 | 277.5 | 277.5
|  | Carried to Collection |  |  |  | 4182.6576
Bill No. 3
CONCRETE, FORMWORK AND REINFORCEMENT
Conways Properties PTY LTD
BILL NO.4
MASONRY
User note
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
NOTE: Preambles for Trades (September 2008 Edition) before pricing this bill.
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick units, "one brick" shall represent the length and "half brick" the width of a brick
User note
The following preamble generally applies for works in hot and humid coastal areas
Bagged and sealed walls
Walls in two skins described as "bagged and sealed" shall be deemed to include having the outer face of the inner skin bagged with 1:6 cement and sand mixture and sealed with two coats bitumen emulsion waterproofing coating
Face bricks
Bricks shall be ordered timeously to obtain uniformity in size and colour
Pointing
Descriptions of recessed pointing to fair face brickwork and face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing, etc
BRICKWORK
Concrete masonry units
Blocks are to be either solid or hollow modular dense concrete masonry units having a compressive strength of 7MPa
Wall ties for blockwork
Wall ties shall be polypropylene ties complying with BS 76377. Ties for hollow walls shall be of sufficient length to allow not less than 75mm of each end to be built into the blockwork. Ties are to be spaced at intervals of not more than 1m in the horizontal direction and not more than 400mm staggered in the vertical direction except at openings, vertical joints or ends of walls where they are to be placed vertically above each other
Blockwork
Blockwork shall comply with SANS 10145 "Concrete Masonry Construction"
Surfaces to be plastered shall have joints raked out to a depth of at least 10mm to provide a key. Cavities of hollow walls shall be kept free of mortar droppings or other undesirable matter. Every second perpend of the bottom course of the external skin of hollow walls shall be left open as a weep hole
Standard complementary blocks
Descriptions of blockwork shall be deemed to include standard complementary blocks such as corner, three-quarter, half and quarter blocks required in the construction of corners, reveals, jambs, ends, etc to solid and hollow walls and for bonding as necessary
BRICKWORK
FOUNDATIONS (PROVISIONAL)
Brickwork in class ii mortar
35 | 1 | One brick wall | m2 | 6 | 626.46 | 3758.76
2,5mm Galvanised brick reinforcement in superstructure
35 | 2 | 230mm Wide reinforcement built in horizontally | m | 228 | 5.1 | 1162.8
|  | Carried to Collection |  |  |  | 4921.56
Bill No. 4
MASONRY
Conways Properties PTY LTD
BILL NO.5
WATERPROOFING
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
NOTE: Preambles for Trades (September 2008 Edition) before pricing this bill.
Waterproofing
Waterproofing of roofs, basements, etc shall be laid under a ten year guarantee. Waterproofing to roofs shall be laid to even falls to outlets etc with necessary ridges, hips and valleys. Descriptions of sheet or membrane waterproofing shall be deemed to include additional labour to turn-ups and turn-downs
WATERPROOFING TO WALLS ETC.
Cementitious waterproofing system (suitable for tiling) comprising primer coat plasticised modified acrylic (PMA) (consisting of 5l PMA, 5 litres water and 16,5kg cement (32,5N), one layer pre-cut polypropylene fabric fully saturated in PMA slurry and two full coats PMA slurry
36 | 1 | To walls | m2 | 1.59 | 149.5 | 237.705
Two coat "ABE" Super Laykold black reinforced liquid bitumen waterproofing
36 | 2 | To walls | m2 | 5.16 | 269.23 | 1389.2268
|  | Carried to Collection |  |  |  | 1626.9318
Bill No. 5
WATERPROOFNG
Conways Properties PTY LTD
BILL NO.6
CARPENTRY AND JOINERY
User note
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
NOTE: Preambles for Trades (September 2008 Edition) before pricing this bill.
Fixing
Items described as "nailed" shall be deemed to be fixed with hardened steel nails or pins, or to be shot-pinned, to brickwork or concrete
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 500mm centres, and where described as "bolted", the bolts have been given elsewhere
Decorative thermosetting plastic laminate covering
Laminate covering shall be glued under pressure and edge strips of same shall be butt jointed at junctions with adjacent similar finish
STRUCTURAL TIMBERWORK ETC
Sawn softwood grade 5
38 | 1 | 50 x228mm Timber bearers in lengths not exceeding 6.0m long, fixed to timber rafters, elswhere measured. | m | 123 | 175 | 21525
| 2 | 50 x152mm Timber joists in lengths not exceeding 6.0m long, fixed to timber rafters, elswhere measured. | m | 545 | 69 | 37605
DECKING ETC.
Wrought hardwood
38 | 3 | 22 x140mm Garapa decking screwed to timber joists with stainless steel screws at 150mm centres. | m2 | 53 | 1409 | 74677
DECKING SUNDRIES
Galvanised mild steel
39 | 4 | 2 x 45mm Galvanised metal truss hanger brackets with both ends fixed to timber joists, elswhere measured. | No. | 70 | 54 | 3780
39 |  | Sawn softwood grade 5
| 5 | 90mm diamter CCA treated timber poles cast into concrete, elsewhere measured. | m | 35 | 128 | 4480
|  | Carried to Collection |  |  |  | 142067
Bill No. 6
CARPENTRY AND JOINERY
Conways Properties PTY LTD
BILL NO. 7
PLASTERING
User note
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
NOTE: Preambles for Trades (September 2008 Edition) before pricing this bill.
The following preambles are to be included only when specifically required by the principal agent
GRANOLITHIC
Method
The method to be used shall be either the monolithic method or the bonded method
Preparation
For granolithic applied monolithically, the concrete floor shall be swept clean after bleeding of the concrete has ceased and the slab has begun to stiffen; any remaining bleed water shall be removed and the granolithic applied immediately thereafter. For granolithic to be bonded to the floor slab after it has hardened, the slab surface shall be hacked (preferably by mechanical means) until all laitance, dirt, oil, etc is dislodged and swept clean of all loose matter. The slab shall then be wetted and kept damp for at least six hours before applying the granolithic mix
Granolithic shall attain a compressive strength of at least 41MPa. The coarse aggregate shall comply with SANS 1083 and shall generally be capable of passing a 10mm mesh sieve. Where the thickness of the granolithic exceeds 25mm, the size of the coarse aggregate shall be increased to the maximum size compatible with the thickness of the granolithic
Panels
Granolithic shall be laid in panels not exceeding 14m² for monolithic finishes, not exceeding 9,5m² for bonded finishes and not exceeding 6m² for all external granolithic. Wherever possible, panels shall be square but at no time should the length of the panel exceed 1,5 times its width
Where possible joints between panels shall be positioned over joints in the floor slab and shall be at least 3mm wide through the full thickness of the finish, separated by strips of wood or fibreboard and finished with V-joints
Laying
Monolithic granolithic shall be applied to the partially set slab and thoroughly compacted and lightly wood floated to the required levels
Bonded granolithic shall be applied to the slab after applying a 1:1 sand-and-cement slurry brushed over the surface and allowed to partially set before applying the granolithic. The granolithic shall be throughly compacted and lightly wood floated to the required levels
After wood floating, the monolithic and bonded granolithic shall remain undisturbed until bleeding has ceased and the surface has stiffened. Any remaining bleed water and laitance shall then be removed and the surface steel trowelled or power floated
Curing, seasoning and protection
Granolithic shall be covered with clean hessian with waterproof building foil over and kept wet for at least seven days after laying
Colour
Coloured granolithic shall be tinted with an approved colouring pigment mixed into the granolithic in the proportion of 10kg pigment per pocket of cement, of uniform appearance and consistent colour throughout
EXTERNAL PLASTER TO BRICKWORK
Cement plaster rendering coat with gypsum skim plaster finishing coat, on brickwork
44 | 1 | To walls | m2 | 11.4 | 75.48 | 860.472
44 | 2 | To narrow widths not exceeding 300mm wide | m2 | 1.6 | 122.1 | 195.36
|  | Carried to Collection |  |  |  | 1055.832
Bill No. 7
PLASTERING
Conways Properties PTY LTD
BILL NO. 8
PAINTWORK
User note
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
NOTE: Preambles for Trades (September 2008 Edition) before pricing this bill.
Attention is drawn to the measurement rules in the measuring system regarding paint colours which read as follows: "4. Paintwork shall be classified in the different colour groups "White", "Pastel", "Deep" and "Transparent" (in accordance with the Natural Colour System (NCS) adopted by the SA National Standards)" and "5. Paintwork in one colour group may be given as extra over paintwork in another colour group"
SUPPLEMENTARY PREAMBLES
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces
Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth
Previously painted metal surfaces
Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal
Previously painted wood surfaces
Surfaces shall be thoroughly cleaned down. Blistered or peeling paint shall be completely removed and cracks and crevices shall be primed, filled with suitable filler and finished smooth
PAINT SPECIFICATIONS
All painting shall be done in accordance with "" specifications unless otherwise described
COLOURS
User note
In the event of the colour scheme for the project not being available when required for the preparation of quantities, it is recommended that either all paintwork be described as being in the "White" colour group or that ceilings be described as being in the "White" colour group and the balance being in the "Pastel" colour group and that provision be made for other colour groups by way of "extra over" items marked "Provisional" as provided for in the measuring system (See measurement rule No. 5 under item 2: Colours). The following items are examples of such "extra over" items:
Extra over for paintwork on components (ceilings?) in the White" colour group for paintwork in the "Pastel" colour group (Provisional) m²"
Extra over for paintwork on components in the Pastel" colour group for paintwork in the "Deep" colour group (Provisional) m²"
Unless otherwise described paintwork on ceilings shall be deemed to be in the "White" colour group and paintwork on all other components shall be deemed to be in the "Pastel" colour group in accordance with the Natural Colour System (NCS) adopted by the SA National Standards
PAINTWORK ETC TO NEW WORK
ON EXTERNAL FLOATED PLASTER SURFACES
One Coat Dulux Trade Moisture Tolerant Plaster Primer, One Coat Trade Universal Undercoat, Two Coats Plascon Micatex
52 | 1 | To walls | m2 | 13 | 102.2754 | 1329.5802
|  | Carried to Collection |  |  |  | 1329.5802
Bill No. 8
PAINTWORK
Conways Properties PTY LTD
BILL NO. 9
PROVISIONAL SUMS
User note
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (eg where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
General
Work for which budgetary allowances are provided will be measured and valued in accordance with the relevant ?building agreement? ?building contract? and deducted in whole or in part if not required without any compensation for loss of profit on the said allowances
Prime cost amounts and provisional sums are net. Prime cost amounts shall include for delivery to site of all articles concerned Provisional sums are for material and equipment supplied and installed complete by firms of specialists
Profit
Where stated, the contractor may allow for profit if required
User note
Refer hereunder to "nominated subcontractors" or "selected subcontractors" or both as the case may be and in accordance with the relevant building agreement (building contract) Where "attendance" is defined in the relevant subcontract agreement/subcontract, the user is to refer thereto and is to ensure that the designations therein are used. Where "attendance" is not defined in the relevant subcontract agreement/subcontract, the user is to provide a detailed description of the "attendance" required from the contractor
General attendance on nominated/selected subcontractors
User note
Use the following descriptions where the JBCC N/S Subcontract Agreement is applicable
The item "attendance" which follows each provisional sum for nominated/selected subcontractors' work, shall be deemed to cover all the contractor's costs incurred in providing free of charge to the nominated/selected subcontractors the contractor's duties as described in clause 12.2 of the JBCC N/S Subcontract Agreement
Special attendance on nominated/selected subcontractors
Where "special attendance" such as unloading, storing, placing in position, providing special power supplies, specific hoisting, cranage and scaffolding requirements, provision of temporary casing and/or other specific protection of the works, special security and clearing away rubbish is required, a separate item describing the specific requirements in detail is to be provided for the pricing of such requirements
Builder's work
Builder's work in connection with specialist services is given elsewhere in these bills of quantities
PROVISIONAL SUMS
53 | 1 | Allow a Provisional Amount of R 10 000.00 inclusive of vat for the supply and installation of boma braai unit | Item | 1 | 10000 | 10000
53 | 2 | Profit | Item | 1 | 500 | 500
53 | 3 | Attendance | Item | 1 | 500 | 500
|  | Carried to Collection |  |  |  | 11000
Bill No. 9
PROVISIONAL SUMS
Conways Properties PTY LTD

## Final Summary
HOUSE FOURIE: (DECKING + BOMA + LOW WALL)
| SUMMARY |  |  | Final Amount
1 | Preliminaries | Page | 28 | 19000
2 | Earthworks (Provisional) | Page | 35 | 6296.1705
3 | Concrete, formwork and reinforcement | Page | 37 | 4182.6576
4 | Masonry | Page | 39 | 4921.56
5 | Waterproofing | Page | 41 | 1626.9318
6 | Carpentry and joinery | Page | 45 | 142067
7 | Plastering | Page | 55 | 1055.832
8 | Paintwork | Page | 67 | 1329.5802
9 | Provisional Amounts | Page | 74 | 11000
H | NET Building Cost | Cur |  | 191479.7321
H | Contingency
H | Allow 5 % of the above sub-total for contingencies to be used as directed and deducted in whole or in part if not required. | Item |  | 0
H | Sub-total including Net Building Cost and Contingencies | Cur |  | 191479.7321
H | Add 15%of the above sub-total for Value Added Tax | Item |  | 28721.9598
H | Carried to form of tender | Cur |  | 220201.6919