## Sheet1 (hidden)
A
A | B
A | B | C
A | B | C | D
A | B | C | D | E
A | B | C | D | E | F
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G
A | B | C | D | E | F | G

## KLM
Version 2019/01
PLAN SUBMISSION CHECKLIST
ERF NO: ______________________
LOCATION: _______________________
PART A | Description |  | Sub Item Description | Y | N | N/A | Comments
A1 | Application | 1 | Submission Form in Owner's Name as per Title Deeds
|  | 2 | Title Deed or Draft Title Deed
|  | 3 | Attorney's Letter of Transfer Confirmation if Draft Title Deed
|  | 4 | Fees Verified (based on external measurements)
Submission fee is paid at time of submission
Collection of approved drawings is subject to payment of additional fees (if applicable)
|  | 5 | Owner's ID or POA (as per Title Deeds ¦ no need for certification)
|  | 6 | CIPC Documentation (Legal Entity: Trust, CC or Company)
|  | 7 | Trust / Company Resolution for Authorised Signatory
|  | 8 | ROD / EIA 100m High Water Mark
|  | 9 | SANS 10400 Part A Form 1 per Title Deeds (signed by owner)
|  | 10 | SANS 10400 Part A Form 2: Energy Efficiency / Fenestration (signed by owner)
|  | 11 | SANS 10400 Part A Form 2: Structural Engineer
|  | 12 | SANS 10400 Part A Form 2: Other (Please specify)
|  | 13 | Competency Certificate: Energy Efficiency
|  | 14 | PI Insurance: Designer
|  | 15 | PI Insurance: Engineer
|  | 16 | Power of Attorney
|  | 17 | SACAP Proof of Registration (with each application)
|  | 18 | ECSA Proof of Registration
|  | 19 | SACAP Form incl Owner Email
|  | 20 | HOA or Body Corporate Stamped Plans
|  | 21 | Energy and Fenestration Calcs
|  | 22 | Rational Design
|  | 23 | Contour Plan
Beacon Certificate (to be provided at foundation inspection - valid for 1 year only)
|  | 24 | 4 Sets of Plans (5 for the Links) - incl 1 in Colour - ref A5 (6)
|  | 25 | Plans to be folded and signed by Designer and Owner/s
|  | 26 | Group Housing - alterations must be entire scheme amendment with resolution from HOA/BC
|  | 27 | Approved SDP for Developments (site plan can act as SDP)
A2 | Plans and Particulars | 28 | Site Plan
|  | 29 | Layout drawings
|  | 30 | Fire Drawing (Any "other than residential" must have a separate plan)
|  | 31 | Drainage Drawing
|  | 32 | Mechanical Ventilation Addressed (ie Bathrooms with no windows)
|  | 33 | Title Block on each Plan
|  | 34 | Area for Municipality and / or HOA/BC to stamp
|  | 35 | Professional Details (E-mail, Tel & Reg No, PI)
|  | 36 | Actual Designer Name (not just architect / firm)
|  | 37 | Owner's Details as per Title Deed
|  | 38 | Erf No and Street Address as per submission form
|  | 39 | Proposal Description on Plan
|  | 40 | Existing / Proposed Area Schedule (fees based on external measurements)
|  | 41 | Coverage
|  | 42 | Revision - Previous Approved Plan No
|  | 43 | Revision - List of Revisions
|  | 44 | Revision - Indicated on Plan
|  | 45 | Canals: Riparians letter of endorsement/recommended/approval (same set of plans)
Municipality has joint approval process - to be clarified with other depts
|  | 46 | Designer PI
|  | 47 | Engineer Name
|  | 48 | Engineer PI
A3 | Prelim Plans and Enquiries | 49
A4 | Additional Documents | 50 | As requested by Municipality
A5 | Application Forms | 51 | Black Ink
| Scales, Sizes | 52 | Owners Name
|  | 53 | Dated
|  | 54 | Min 1:200 & 1:100 Other Layouts
|  | 55 | 2,5mm Fonts
A6 | Site Plans | 56 | Boundary Lines Dimensioned
|  | 57 | Building Lines (i.t.o Scheme and i.a.w. Title Deed)
|  | 58 | Building Line Encroachment
|  | 59 | Building Line Relaxation (for area of encroaching structure only - not entire building line)
|  | 60 | Servitudes
|  | 61 | Erf / Stand No
|  | 62 | Street Address
|  | 63 | Abutting Erf No's (with descriptions)
|  | 64 | North Arrow (correspond to elevations)
|  | 65 | Benchmark and Contours
|  | 66 | Location (Farms / Sectional Title / Group Housing etc)
|  | 67 | Beacons (Farms)
|  | 68 | Sewerage Connection (if available)
|  | 69 | Electrical Connection
|  | 70 | Electrical (layout/meter required in pillar at street boundary - not for Links)
A6 | Site Plans | 71 | Water Connection
| continued | 72 | Telkom Connection (Links)
|  | 73 | Setting Out Dimensions
|  | 74 | Underground Drainage (in colour brown)
|  | 75 | Drainage under building to be encased in min 300 x 300mm concrete
|  | 76 | RE required within 1.5m of sewer connection
|  | 77 | Septic / Conservancy Tank Position (min 2m from boundary or structure)
|  | 78 | Septic / Conservancy Tank Capacity (min 6,5 m3 at the inlet)
|  | 79 | Soakaway with Septic Tank Only (min 3m from buildings/boundary)
|  | 80 | Stormwater Management
|  | 81 | Building Location
|  | 82 | Access Driveway
|  | 83 | Street Furniture
|  | 84 | Trees (Milkwoods, Candlewoods)
A7 | Layout Drawing | 85 | Occupancy Classification (other than residential)
|  | 86 | Room Area
|  | 87 | All Work Dimensioned
|  | 88 | Damp Proofing (DPC and DPM)
|  | 89 | Interior Levels
|  | 90 | Exterior Paved Levels
|  | 91 | NGL
|  | 92 | FFL
|  | 93 | Room Descriptions (Bedroom 1, Bedroom 2 etc - Not Guest Room)
|  | 94 | Floor Finish
|  | 95 | Clearly Indicate Prop/Existing/Demolished Area (Reflect if "already approved" not just show "existing")
|  | 96 | Are Rooms Interleading?
|  | 97 | Show Section Lines
|  | 98 | Indicate Water Reticulation (H&C) & Pipe Insulation
|  | 99 | Window Schedule / Sizes (Fenestration)
|  | 100 | Ventilation (min 5%) / Lighting (min 10%) Schedule Per Room
|  | 101 | Facilities for Disabled Persons (refer classification)
|  | 102 | Second Dwelling Identified
|  | 103 | Stair Details (Treads/Risers/Handrail)
|  | 104 | Sewer and Waste Water Layout (in colour green)
|  | 105 | Section & Description corresponds with Plans
|  | 106 | Foundation Sizes (to engineer)
|  | 107 | Floor Thickness and Description
|  | 108 | Floor Heights above NGL
|  | 109 | Floor to Ceiling Heights (Part C)
|  | 110 | Wall Thickness / Length / Height (length over 6m to Eng) - can be on a note
|  | 111 | Lintel Design (Openings more than 3m to Eng) - can be on a note
|  | 112 | Roof Plan with Pitch & Overhangs
|  | 113 | Roof Truss Details (to Eng)
|  | 114 | Roof Truss Details - Timber grade, size and spacings (if deemed to satisfy)
|  | 115 | Indicate Roof Insulation (with R Values)
|  | 116 | Balustrade (min 1m high and 100mm openings)
|  | 117 | 2 x Sleeves in Verge under Driveway
|  | 118 | Boundary Wall Section / Detail / Thickness (Part K - table 17 & 18)
|  | 119 | Elevations & Descriptions (incl NGL)
|  | 120 | Wall Finish
|  | 121 | Window Safety Glazing (Part N) min 1,8m from bath/shower & min 500mm from FFL
|  | 122 | Chimney Height above Roof
|  | 123 | Electrical Geyser: position (50% other than gas)
|  | 124 | GWH - Position and flow rate (unless rational design)
|  | 125 | Drainage Sections (Longitudinal) Head to be Vented
|  | 126 | Pool - show pool pump position and bachwash
|  | 127 | Pool - Self closing gates latched or lockable
|  | 128 | Pool Fence / Wall - min 1200 high (openings min 100 mm)
|  | 129 | Pool & Deck - less than 1m height from NGL over building line - neighbour consent required
|  | 130 | Pergolas, Pool & Deck - more than 1m high over building line - neighbour consent & apply for dep
Neigbour must also sign at area on the plan in both scenarios
A8 | Plumbing | 131
A9 | Fire Protection Plan | 132 | Chimney height (no protruding timber)
|  | 133 | Fire wall and fire resistant rated door between garage and living space
|  | 134 | Gas Bottle Position at safe distances (show distance)
|  | 135 | Gas cylinder size specified
|  | 136 | Dedicated water connection to FHR where required
|  | 137 | Building lines - safe distances to main building (outbuildings, carports etc)
|  | 138 | Braai room enclosures - no window or door opening within 500mm from braai
|  | 139 | Fireproofing - details to walls & ceilings in garages/workshops where applicable
A10 | Symbols | 140 | Fire Symbols
A11 | Boundary Beacons |  | Beacon Certificate
A12 | Street Levels |  | Levels
A13 | Building Materials |  | Timber Treatment
A14 | Construction |  | iaw SANS 10400
A15 | Maintenance and Operation |  | Safety
A16 | BCO Qualifications
A17 | BCO ID Certificate
A18 | Plumbers |  | Competency Certificate
A19 | Appt of Design Persons |  | Competency
A19 | Appt of Design Persons |  | Form 2
A20 | Occupancy Classifications / Designations |  | Primary Function
A21 | Population
A22 | Erection/Demolition |  | Notice
A22 | Erection/Demolition |  | Inspections
A23 | Temporary Buildings |  | Authorisation period
A23 | Temporary Buildings |  | Site Plan
A23 | Temporary Buildings |  | Layout Drawings
A23 | Temporary Buildings |  | Structural Details
A24 | Standardization of Interpretation
A25 | General Enforcement
DESIGNER ADDITIONAL COMMENTS
KOUGA TOWN PLANNER COMMENTS (refer reference numbers)
| CHECKED BY DATE: |  | OTHER DEPARTMENTS | YES | NO | N/A | COMMENTS
| PLAN EXAMINER |  | TOWN PLANNING
| BUILDING CONTROL OFFICER |  | HEALTH
| OWNER/DESIGNER |  | FIRE
TECHNICAL